## Emission Air
รหัส | Parameter | วิธีวิเคราะห์ |  | Method CNVi | sub | ราคา sub | ราคา cnvi
ST001 | 1,2,4-Trimethylbenzene |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST002 | 1,2,4-Trimethylbenzene+Xylene |  | Emission Air | US.EPA Method 18 | EMEX |  | 5000 | AIR
ST003 | Acetaldehyde |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST004 | Acetic acid |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST005 | Acetone |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST006 | Acrylonnitrite |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST007 | Alumiunum | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST008 | Ammonia | Ion Chromatography | Emission Air | US.EPA Method 26 | EMEX | 250 | 2500 | AIR
ST009 | Antimony | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST010 | Arsenic | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST011 | Asbestos |  | Emission Air |  | EMEX |  | 5000 | AIR
ST012 | Barium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST013 | Benzene | Gas Chromatography | Emission Air | US.EPA Method 18 | EMEX | 250 | 2500 | AIR
ST014 | Beryllium |  | Emission Air | US.EPA Method 29 | EMEX |  | 5000 | AIR
ST015 | Boron |  | Emission Air | Base on US.EPA Method 29 | EMEX |  | 2500 | AIR
ST016 | BTEX |  | Emission Air | US.EPA Method 18 / NIOSH Method 1501 | EMEX |  | 5000 | AIR
ST017 | Butadiene |  | Emission Air | US.EPA Method 18 | EMEX |  | 2200 | AIR
ST018 | Butyl acetate |  | Emission Air | US.EPA Method 18 | EMEX |  | 2200 | AIR
ST019 | Cadmium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2200 | AIR
ST020 | Calcium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2200 | AIR
ST021 | Calcium hydroxide |  | Emission Air | Titrimetric Method | EMEX |  | 2200 | AIR
ST022 | Carbon dioxide |  | Emission Air | US.EPA Method 10 | EMEX |  | 2200 | AIR
ST023 | Carbon dioxide (Testo) |  | Emission Air | Electrochemical Method | EMEX |  | 2200 | AIR
ST024 | Carbon dioxide( Bag) |  | Emission Air | US.EPA Method 18 | EMEX |  | 2200 | AIR
ST025 | Carbon monoxide | NDIR | Emission Air | US.EPA Method 10 | EMEX | 250 | 2200 | AIR
ST026 | Carbon monoxide (Bag) |  | Emission Air | US.EPA Method 18 | EMEX |  | 2200 | AIR
ST027 | Carbon monoxide (Testo) |  | Emission Air | Electrochemical Method | EMEX |  | 2200 | AIR
ST028 | Carbon monoxide+Carbon dioxide (Testo) |  | Emission Air | Electrochemical Method | EMEX |  | 2200 | AIR
ST029 | Carbon monoxide+Carbon dioxide+Oxygen (Testo) |  | Emission Air | Electrochemical Method | EMEX |  | 2200 | AIR
ST030 | Chlorine | Ion Chromatography | Emission Air | US.EPA Method 26 | EMEX | 250 | 2200 | AIR
ST031 | Chlorobenzene |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST032 | Chloroform |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST033 | Chromic acid |  | Emission Air | US.EPA Method 29 | EMEX |  | 5000 | AIR
ST034 | Chromium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST035 | Cobalt | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST036 | Copper | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST037 | Cresol | Gas Chromatography | Emission Air | US.EPA Method 18 | EMEX | 250 | 2500 | AIR
ST038 | Cyanide |  | Emission Air | Ion Selective Electrode Method | EMEX |  | 2500 | AIR
ST039 | Cyclohexane |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST040 | Diethyl ether |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST041 | Dimethyl ether |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST042 | Dioxin |  | Emission Air |  | EMEX |  | 50000 | AIR
ST043 | Ethanol |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST044 | Ethyl acetate |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST045 | Ethyl benzene |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST046 | Ethyl mercaptan |  | Emission Air | Isokinetic Samping, GC Method | EMEX |  | 5000 | AIR
ST047 | Ethylene glycol |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST048 | Flow rate |  | Emission Air | US.EPA Method 2 | EMEX |  | 2500 | AIR
ST049 | Flow rate, Temperature and Pressure |  | Emission Air | US.EPA Method 2 |  |  | 2500 | AIR
ST050 | Fluoride |  | Emission Air | US.EPA Method 26A |  |  | 2500 | AIR
ST051 | Formaldehyde |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST052 | Hexane |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST053 | Hydrogen bromide | Ion Chromatography | Emission Air | US.EPA Method 26 | EMEX | 250 | 2500 | AIR
ST054 | Hydrogen chloride (Hydrochloric acid) | Ion Chromatography | Emission Air | US.EPA Method 26 | EMEX | 250 | 2500 | AIR
ST055 | Hydrogen cyanide |  | Emission Air | Ion Selective Electrode Method | EMEX |  | 2500 | AIR
ST056 | Hydrogen fluoride | Ion Chromatography | Emission Air | US.EPA Method 26 | EMEX | 250 | 2500 | AIR
ST057 | Hydrogen sulfide | Tritation | Emission Air | US.EPA Method 11 | EMEX | 250 | 2500 | AIR
ST058 | Iron |  | Emission Air | US.EPA Method 29 | EMEX |  | 2500 | AIR
ST059 | Iron oxide Fume | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST060 | Isopropyl alcohol (IPA) |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST061 | Kerosene |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST062 | Lead | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST063 | Magnesium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST064 | Manganese | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST065 | Mercury | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST066 | Methane |  | Emission Air | THC Analyzer | EMEX |  | 2500 | AIR
ST067 | Methanol |  | Emission Air | US.EPA Method 18 | PCL | 1500 | 2500 | AIR
ST068 | Methyl Acetate |  | Emission Air | US.EPA Method 18 | EMEX |  | 5000 | AIR
ST069 | Methyl Ethyl Ketone |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST070 | Methyl Isobutyl Ketone |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST071 | Methyl mercaptan |  | Emission Air | Isokinetic Samping, GC Method | EMEX |  | 2500 | AIR
ST072 | Methylene Chloride |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST073 | n-Butyl acetate |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST074 | Nickel | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST075 | Nitric acid | Ion Chromatography | Emission Air | US.EPA Method 8 | EMEX | 250 | 2500 | AIR
ST076 | Nitrogen Dioxide |  | Emission Air | US.EPA Method 7 | EMEX |  | 2500 | AIR
ST077 | Non-Methane Hydrocarbon |  | Emission Air | THC Analyzer | EMEX |  | 2500 | AIR
ST078 | Oil mist |  | Emission Air | Isokinetic Samping, Spectrophotometer | EMEX |  | 5000 | AIR
ST079 | Opacity |  | Emission Air | Ringelman's Method | EMEX |  | 2500 | AIR
ST080 | Oxide of Nitrogen (Nox) | VAS | Emission Air | US.EPA Method 7 | EMEX | 250 | 2500 | AIR
ST081 | Oxygen (Testo) |  | Emission Air | Electrochemical Method | EMEX |  | 2500 | AIR
ST082 | Ozone |  | Emission Air | Sampling / Ozne Analyzer | EMEX |  | 2500 | AIR
ST083 | Particulate Metter |  | Emission Air |  | EMEX |  | 4000 | AIR
ST084 | Pentane |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST085 | Phenol |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST086 | Phosphoric acid | Ion Chromatography | Emission Air | US.EPA Method 8 | EMEX | 250 | 2500 | AIR
ST087 | Potassium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST088 | Potassium hydroxide |  | Emission Air | Titrimetric Method | EMEX |  | 2500 | AIR
ST089 | Prosphoric acid |  | Emission Air |  | EMEX |  | 2500 | AIR
ST090 | p-Xylene |  | Emission Air | US.EPA Method 18 | EMEX |  | 5000 | AIR
ST091 | Selenium | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST092 | Sillica |  | Emission Air | US.EPA Method 29 | EMEX |  | 5000 | AIR
ST093 | Silver | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 300 | 2500 | AIR
ST094 | Smoke Density |  | Emission Air |  | EMEX |  | 2500 | AIR
ST095 | Sodium hydroxide | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST096 | Styrene | Gas Chromatography | Emission Air | US.EPA Method 18 | EMEX | 250 | 2500 | AIR
ST097 | Sulfur dioxide / (Sox) | Tritation | Emission Air | US.EPA Method 6 | EMEX | 250 | 2500 | AIR
ST098 | Sulfur trioxide (SO3) |  | Emission Air | US.EPA Method 8 | EMEX |  | 2500 | AIR
ST099 | Sulfuric acid | Ion Chromatography | Emission Air | US.EPA Method 8 | EMEX | 250 | 2500 | AIR
ST100 | Sulfuric acid mist |  | Emission Air | US.EPA Method 8 | EMEX |  | 2500 | AIR
ST101 | Tellurium |  | Emission Air | Base on US.EPA Method | EMEX |  | 2500 | AIR
ST102 | Temperature |  | Emission Air | Thermometer Analyzer | EMEX |  | 2500 | AIR
ST103 | Thallium |  | Emission Air | US.EPA Method 29 | EMEX |  | 2500 | AIR
ST104 | Tin | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST105 | Toluene | Gas Chromatography | Emission Air | US.EPA Method 18 | EMEX | 250 | 2500 | AIR
ST106 | Total hydrocarbon |  | Emission Air | US.EPA Method 25A | EMEX |  | 2500 | AIR
ST107 | Total Organic Carbon |  | Emission Air | US.EPA Method 25A | EMEX |  | 2500 | AIR
ST108 | Total Reduced Sulfer |  | Emission Air | US.EPA Method 15A | EMEX |  | 2500 | AIR
ST109 | Total Suspended Particulates | GR | Emission Air | US.EPA Method 1-5 | EMEX | 250 | 5000 | AIR
ST110 | Total VOC |  | Emission Air | Sampling Bag / Photoionzation Gas Detecter | EMEX |  | 2500 | AIR
ST111 | Trichoroethylene |  | Emission Air | US.EPA Method 18 / NIOSH Method 1022 | EMEX |  | 2500 | AIR
ST112 | Vanadium |  | Emission Air | US.EPA Method 29 | EMEX |  | 2500 | AIR
ST113 | Velocities |  | Emission Air | US.EPA Method 2 | EMEX |  | 2500 | AIR
ST114 | Vinyl Acetate |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST115 | Vinyl Chloride |  | Emission Air | US.EPA Method 18 | EMEX |  | 2500 | AIR
ST116 | Xylene | Gas Chromatography | Emission Air | US.EPA Method 18 | EMEX | 250 | 2500 | AIR
ST117 | Zinc | Atomic Absorption Spectrophotometer | Emission Air | US.EPA Method 29 | EMEX | 250 | 2500 | AIR
ST118 | ค่าความชื้นสัมพัทธ์ |  | Emission Air |  |  |  | 2000 | AIR

## Ambient Air
รหัส | Parameter | วิธีวิเคราะห์ | กลุ่ม | Method CNVi | sub | ราคา sub | ราคา cnvi
AB001 | Acetaldehyde |  | Ambient Air |  | EMEX | 250 | 2500 | AIR
AB002 | Acetic acid |  | Ambient Air | NIOSH Method 1603 | EMEX | 250 | 2500 | AIR
AB003 | Acetone |  | Ambient Air | NIOSH Method 1300 | EMEX | 250 | 2500 | AIR
AB004 | Acrylonitrile |  | Ambient Air | NIOSH Method 1604 | EMEX | 250 | 2500 | AIR
AB005 | Aluminium |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB006 | Ammonia |  | Ambient Air | NIOSH Method 6015 | EMEX | 250 | 2500 | AIR
AB007 | Asbestos |  | Ambient Air | NIOSH Method 7400 | EMEX | 250 | 4200 | AIR
AB008 | Benzene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 2500 | AIR
AB009 | Butyl acetate |  | Ambient Air | NIOSH Method 1450 | EMEX | 250 | 2500 | AIR
AB010 | Cadmium |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB011 | Calcium & Compound as Ca |  | Ambient Air | NIOSH Method 7020 | EMEX | 250 | 1600 | AIR
AB012 | Carbon dioxide |  | Ambient Air | NIOSH Method 6603 | EMEX | 250 | 2500 | AIR
AB013 | Carbon monoxide |  | Ambient Air |  | EMEX | 250 | 2500 | AIR
AB014 | Carbon monoxide (Analyzer) |  | Ambient Air |  | EMEX | 250 | 6500 | AIR
AB015 | Chlorine |  | Ambient Air | NIOSH P & CAM 115 | EMEX | 250 | 2500 | AIR
AB016 | Chromic acid |  | Ambient Air | NIOSH Method 7600 | EMEX | 250 | 1600 | AIR
AB017 | Chromium |  | Ambient Air | NIOSH Method 7600 | EMEX | 250 | 1600 | AIR
AB018 | Copper |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB019 | Cyclohexane |  | Ambient Air | NIOSH Method 1500 | EMEX | 250 | 2500 | AIR
AB020 | Cyclohexanone |  | Ambient Air | NIOSH Method 1300 | EMEX | 250 | 2500 | AIR
AB021 | Ethanol |  | Ambient Air | NIOSH Method 1400 | EMEX | 250 | 2500 | AIR
AB022 | Ethyl acetate |  | Ambient Air | NIOSH Method 1457 | EMEX | 250 | 2500 | AIR
AB023 | Ethyl Mercaptan |  | Ambient Air | NIOSH Method 2542 | EMEX | 250 | 2500 | AIR
AB024 | Ethylene dichloride |  | Ambient Air | NIOSH Method 1003 | EMEX | 250 | 2500 | AIR
AB025 | Ethylene gylcol |  | Ambient Air | NIOSH Method 5523 | EMEX | 250 | 2500 | AIR
AB026 | Fluoride |  | Ambient Air |  | EMEX | 250 | 2500 | AIR
AB027 | Formoldehyde |  | Ambient Air | ASTM D3687 MOD NIOSH 1500 | EMEX | 250 | 2500 | AIR
AB028 | Hexane |  | Ambient Air | NIOSH Method 1500 | EMEX | 250 | 2500 | AIR
AB029 | Hydrogen chloride |  | Ambient Air | NIOSH P & CAM 115 , NIOSH Method 7903 | EMEX | 250 | 2500 | AIR
AB030 | Hydrogen cyanide |  | Ambient Air | NIOSH Method 7904 | EMEX | 250 | 2500 | AIR
AB031 | Hydrogen fluoride |  | Ambient Air | NIOSH Method 7903 | EMEX | 250 | 2500 | AIR
AB032 | Hydrogen sulfide |  | Ambient Air | Methylene Blue Method | EMEX | 250 | 2500 | AIR
AB033 | Iron |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 2500 | AIR
AB034 | Isopropyl alcohol (IPA) |  | Ambient Air | NIOSH Method 1400 | EMEX | 250 | 2500 | AIR
AB035 | L90 | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB036 | Ldn | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2000 | AIR
AB037 | Lead |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB038 | Leq 5 mins | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1200 | AIR
AB039 | Leq 1 hr | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1100 | AIR
AB040 | Leq 1 hrs. + Lmax (record every 5 min) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1200 | AIR
AB041 | Leq 24 hrs | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB042 | Leq 24 hrs. + Lmax | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB043 | Leq 24 hrs. + Lmax (record every 5 min) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB044 | Leq 24 hrs.+L90 | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB045 | Leq 24 hrs.+L90+Ldn | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB046 | Leq 24 hrs.+Ldn.+Leq 1 hr.+Lmax | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1600 | AIR
AB047 | Lmax (จากการระเบิด) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 1100 | AIR
AB048 | Manganese |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB049 | Mercaptan |  | Ambient Air | NIOSH Method 2542 | EMEX | 250 | 2500 | AIR
AB050 | Mercury |  | Ambient Air | NIOSH Method 6009 | EMEX | 250 | 1600 | AIR
AB051 | Methanol |  | Ambient Air | NIOSH Method 2000 | EMEX | 250 | 2500 | AIR
AB052 | Methyl and Ethyl mercaptan |  | Ambient Air | NIOSH Method 2542 | EMEX | 250 | 4000 | AIR
AB053 | Methyl Ethyl Ketone |  | Ambient Air | NIOSH Method 2500 | EMEX | 250 | 2500 | AIR
AB054 | Methyl isobutyl Ketone |  | Ambient Air | NIOSH Method 1300 | EMEX | 250 | 2500 | AIR
AB055 | Methyl mercaptan |  | Ambient Air | NIOSH Method 2542 | EMEX | 250 | 2500 | AIR
AB056 | Methylene chloride |  | Ambient Air | NIOSH Method 1005 | EMEX | 250 | 2500 | AIR
AB057 | n-Butyl acetate |  | Ambient Air | NIOSH Method 1450 | EMEX | 250 | 2500 | AIR
AB058 | Nickel |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB059 | Nitric acid |  | Ambient Air | NIOSH Method 7903 | EMEX | 250 | 2500 | AIR
AB060 | Nitrogen dioxide(Analyzer) |  | Ambient Air | Chemiluminescence Method | EMEX | 250 | 5000 | AIR
AB061 | Nox , NO, NO2 |  | Ambient Air | Chemiluminescence Method | PCL | 2500 | 5000 | AIR
AB062 | Oil mist |  | Ambient Air | NIOSH Method 5026 | EMEX | 250 | 2200 | AIR
AB063 | Oxygen |  | Ambient Air | Electrochemical Method | EMEX | 250 | 1600 | AIR
AB064 | Ozone |  | Ambient Air | NIOSH P & CAM 154 | EMEX | 250 | 2500 | AIR
AB065 | Ozone (Analyzer) |  | Ambient Air | UV Photometric Method | EMEX | 250 | 5000 | AIR
AB066 | Pentane |  | Ambient Air | NIOSH Method 1500 | EMEX | 250 | 2500 | AIR
AB067 | Phenol |  | Ambient Air | NIOSH Method 2546 | EMEX | 250 | 2500 | AIR
AB068 | Phosphoric acid |  | Ambient Air | NIOSH Method 7903 | EMEX | 250 | 2500 | AIR
AB069 | PM-10 |  | Ambient Air | Gravimetric Method | PCL | 1200 | 2000 | AIR
AB070 | PM-2.5 |  | Ambient Air | Federal Reference Method (FRM) | EMEX | 250 | 9000 | AIR
AB071 | Potassium hydroxide |  | Ambient Air | NIOSH Method 7401 | EMEX | 250 | 2500 | AIR
AB072 | Residual Noise Level (ไม่มีการรบกวน-Leq+Lmax)+Background Noise (พื้นฐาน-L90) (24 hr. record every 1 Hr.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB073 | Residual Noise Level (ไม่มีการรบกวน-Leq+Lmax)+Background Noise (พื้นฐาน-L90) (24 hr. record every 5 min) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB074 | Residual Noise Level (ไม่มีการรบกวน-Leq+Lmax)+Background Noise (พื้นฐาน-L90) (06.00-22.00 record every 1 Hr.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB075 | Residual Noise Level (ไม่มีการรบกวน-Leq+Lmax)+Background Noise (พื้นฐาน-L90) (22.00-06.00 record every 5 min.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB076 | Sodium hydroxide |  | Ambient Air | NIOSH Method 7401 | EMEX | 250 | 2500 | AIR
AB077 | Specific Noise Level (มีการรบกวน-Leq+Lmax)(24 hr. record every 1 Hr.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB078 | Specific Noise Level (มีการรบกวน-Leq+Lmax) (24 hr. record every 5 min.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB079 | Specific Noise Level (มีการรบกวน-Leq+Lmax) (06.00-22.00 record every 1 Hr.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB080 | Specific Noise Level (มีการรบกวน-Leq+Lmax) (22.00-06.00 record every 5 min.) | Sound Level Meter | Ambient Air | Sound Level Meter | EMEX | 250 | 2500 | AIR
AB081 | Styrene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 2500 | AIR
AB082 | Sulfur dioxide , Sox |  | Ambient Air | Pararosaniline Method | PCL | 2500 | 5000 | AIR
AB083 | Sulfur dioxide(Analyzer) |  | Ambient Air | UV-Fluorescence Method | EMEX | 250 | 6500 | AIR
AB084 | Sulfuric acid |  | Ambient Air | NIOSH Method 7903 | EMEX | 250 | 2500 | AIR
AB085 | Tin |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB086 | Toluene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 2500 | AIR
AB087 | Total hydrocarbon |  | Ambient Air | THC Analyzer | EMEX | 250 | 2500 | AIR
AB088 | Total Particulate Metter |  | Ambient Air | High-volume air sampler gravimetric | EMEX | 250 | 3000 | AIR
AB089 | Total suspended particulate (TSP) |  | Ambient Air | Gravimetric Method | PCL | 1000 | 1500 | AIR
AB090 | Total suspended particulate (TSP) (Share) |  | Ambient Air | Gravimetric Method | EMEX | 250 | 800 | AIR
AB091 | Total VOC |  | Ambient Air | US.EPA Method TO-15 | EMEX | 250 | 2100 | AIR
AB092 | Total VOC (9 รายการ) |  | Ambient Air | US.EPA Method TO-15 | EMEX | 250 | 18000 | AIR
AB093 | Trichloroethylene |  | Ambient Air | NIOSH Method 1022 | EMEX | 250 | 2500 | AIR
AB094 | Vibration | Vibration Meter | Ambient Air | Vibration Meter | EMEX | 250 | 5500 | AIR
AB095 | Vinyl chloride monomer (VCM) |  | Ambient Air | NIOSH Method 1007 | EMEX | 250 | 2500 | AIR
AB096 | Wind speed / Wind direction |  | Ambient Air | Cup Anemometer / Wind Vane | PCL | 1200 | 2000 | AIR
AB097 | Wind speed / Wind direction (shared) |  | Ambient Air | Cup Anemometer / Wind Vane | EMEX | 250 | 800 | AIR
AB098 | Xylene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 800 | AIR
AB099 | Zinc |  | Ambient Air | NIOSH Method 7300 | EMEX | 250 | 1600 | AIR
AB100 | 1,2,4-Trimethylbenzene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 2500 | AIR
AB101 | 1,2,4-Trimethylbenzene+Xylene |  | Ambient Air | NIOSH Method 1501 | EMEX | 250 | 4000 | AIR
AB102 | 1-3 Butadiene |  | Ambient Air | NIOSH Method 1024 | EMEX | 250 | 3000 | AIR

## Workplace Air
รหัส | Parameter | Analysis | กลุ่ม | Method | sub | ราคา sub | ราคา cnvi
WP001 | 1,1-Dichloroethane | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP002 | 1,2,4-Trimethylbenzene | Gas Chromatography | Workplace Air |  | EMEX |  | 2200 | AIR
WP003 | 1,2-Dichloroethylene | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP004 | 1-3 Butadiene | Gas Chromatography | Workplace Air | NIOSH Method 1204 | EMEX | 250 | 2200 | AIR
WP005 | 1-Methoxy-2-propanol (NIOSH 2554) | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP006 | 1-Methoxy-2-propanol (OSHA 99) | Gas Chromatography | Workplace Air | OSHA 99 | EMEX | 250 | 2200 | AIR
WP007 | 2,2,4-Trimethylbenzene | Gas Chromatography | Workplace Air | OSHA PV 2091 | EMEX | 250 | 2200 | AIR
WP008 | 2-aminoethanol | Gas Chromatography | Workplace Air | NIOSH Method 2007 | EMEX | 250 | 2200 | AIR
WP009 | 2-Butanone (MEK) | Gas Chromatography | Workplace Air | NIOSH Method 2550 | EMEX | 250 | 2200 | AIR
WP010 | 2-Butoxyethanol | Gas Chromatography | Workplace Air |  | EMEX |  | 2200 | AIR
WP011 | 2-Butoxyethyl acetate | Gas Chromatography | Workplace Air | OSHA 83 | EMEX | 250 | 2200 | AIR
WP012 | 2-cloroethane (Ethylene chlorohydrin) | Gas Chromatography | Workplace Air | NIOSH Method 2513 | EMEX | 250 | 2200 | AIR
WP013 | 2-Hexanone (Methyl butyl ketone) | Gas Chromatography | Workplace Air | NIOSH Method 1300 | EMEX | 250 | 2200 | AIR
WP014 | 2-Methoxy-1-propanol | Gas Chromatography | Workplace Air | OSHA 99 | EMEX | 250 | 2200 | AIR
WP015 | Acetaldehyde | Gas Chromatography | Workplace Air | NIOSH Method 2531 | EMEX | 250 | 2200 | AIR
WP016 | Acetic acid | Gas Chromatography | Workplace Air | NIOSH Method 1603 | EMEX | 250 | 2200 | AIR
WP017 | Acetone | Gas Chromatography | Workplace Air | NIOSH Method 1300 | EMEX | 250 | 2200 | AIR
WP018 | Acetonitrile | Gas Chromatography | Workplace Air | NIOSH Method 1606 | EMEX | 250 | 2200 | AIR
WP019 | Acid Mist |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP020 | Acrylonitrile | Gas Chromatography | Workplace Air | NIOSH Method 1604 | EMEX | 250 | 2200 | AIR
WP021 | Alkaline Dust |  | Workplace Air |  | EMEX |  | 3000 | AIR
WP022 | Allyl alcohol | Gas Chromatography | Workplace Air | NIOSH Method 1402 | EMEX | 250 | 2200 | AIR
WP023 | Aluminium | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7013 | EMEX | 300 | 2200 | AIR
WP024 | Aluminium hydroxide as Total dust |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP025 | Aluminium Phosphate as Aluminium |  | Workplace Air | NIOSH Method 7300 | EMEX |  | 2200 | AIR
WP026 | Amines, Aliphatic | Gas Chromatography | Workplace Air | NIOSH Method 2010 | EMEX | 250 | 2200 | AIR
WP027 | Ammonia | Ion Chromatography | Workplace Air | NIOSH Method 6016 | EMEX | 250 | 2200 | AIR
WP028 | Ammonium Chloride as Ammonia |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP029 | Ammonium hydroxide as Ammonia |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP030 | Antimony | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 300 | 2200 | AIR
WP031 | Antimony (PS) | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 300 | 2200 | AIR
WP032 | Arsenic | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 6001 | EMEX | 300 | 2200 | AIR
WP033 | Arsenic Compounds | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7900 | EMEX | 300 | 2200 | AIR
WP034 | Asbestos |  | Workplace Air | NIOSH Method 7400 | EMEX |  | 4000 | AIR
WP035 | Barium | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7056 | EMEX | 300 | 2200 | AIR
WP036 | Barium (PS) | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7056 | EMEX | 300 | 2200 | AIR
WP037 | Barium Chloride as Barium |  | Workplace Air | NIOSH Method 7300 | EMEX |  | 2200 | AIR
WP038 | Benzene | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP039 | Benzyl Chloride | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP040 | Borax as Boron |  | Workplace Air | OSHA CSI | EMEX |  | 3000 | AIR
WP041 | Borax as Total dust |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP042 | Bromide |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP043 | BTEX |  | Workplace Air |  | EMEX |  | 4000 | AIR
WP044 | Butyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP045 | Butyl Alcohol |  | Workplace Air | NIOSH Method 1400 | EMEX |  | 2200 | AIR
WP046 | Butyl Cellosolve |  | Workplace Air |  | EMEX |  | 3000 | AIR
WP047 | Cadmium | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7048 | EMEX | 250 | 2200 | AIR
WP048 | Cadmium Dust | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP049 | Calcium | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7020 | EMEX | 250 | 2200 | AIR
WP050 | Calcium Compound | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7024 | EMEX | 250 | 2200 | AIR
WP051 | Calcium Hydroxide | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7020 | EMEX | 250 | 2200 | AIR
WP052 | Carbon dioxide |  | Workplace Air | NIOSH Method 6603 | EMEX |  | 2200 | AIR
WP053 | Carbon monoxide | Non-Dispersive Infrared Method | Workplace Air | NIOSH Method 6604 | EMEX |  | 2200 | AIR
WP054 | carbon tetrachloride |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP055 | Chloride |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP056 | Chlorine | Ion Chromatography | Workplace Air | NIOSH Method 6011 | EMEX | 250 | 2200 | AIR
WP057 | Chloroform | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP058 | Chromic acid | VAS | Workplace Air | NIOSH Method 7600 | EMEX |  | 2200 | AIR
WP059 | Chromium |  | Workplace Air | NIOSH Method 7600 | EMEX |  | 2200 | AIR
WP060 | Chromium Compounds | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7024 | EMEX | 250 | 2200 | AIR
WP061 | Chromium hexavalent | VAS | Workplace Air | NIOSH Method 7600 | EMEX | 250 | 2200 | AIR
WP062 | Chromium Total |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP063 | Cloroethane (Ethyl chloride) | Gas Chromatography | Workplace Air | NIOSH Method 2519 | EMEX | 250 | 2200 | AIR
WP064 | Coal Dust ( Respirable Dust ) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP065 | Coal Dust ( Total Dust ) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP066 | Cobalt ( Co ) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP067 | Cobalt Compounds | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7027 | EMEX | 300 | 2200 | AIR
WP068 | Copper |  | Workplace Air | NIOSH Method 7300 | EMEX |  | 2200 | AIR
WP069 | Copper (PS) |  | Workplace Air | NIOSH Method 7301 | EMEX |  | 2200 | AIR
WP070 | Copper Dust | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7029 | EMEX | 300 | 2200 | AIR
WP071 | Copper Fume | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7029 | EMEX | 300 | 2200 | AIR
WP072 | Cotton Dust ( Total Dust ) |  | Workplace Air |  | EMEX |  | 1500 | AIR
WP073 | Cresol | Gas Chromatography | Workplace Air | NIOSH Method 2546 | EMEX | 250 | 2200 | AIR
WP074 | Cumene (Isopropyl benzene) | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP075 | Cyanide | Ion Specific Electrode | Workplace Air | OSHA ID 120 | EMEX | 250 | 2200 | AIR
WP076 | Cyclohexane | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP077 | Cyclohexanol | Gas Chromatography | Workplace Air | NIOSH Method 1402 | EMEX | 250 | 2200 | AIR
WP078 | Cyclohexanone | Gas Chromatography | Workplace Air | NIOSH Method 1300 | EMEX | 250 | 2200 | AIR
WP079 | Cyclopentane | Gas Chromatography | Workplace Air | OSHA CSI | EMEX | 250 | 2200 | AIR
WP080 | Diacetone alcohol | Gas Chromatography | Workplace Air | NIOSH Method 1402 | EMEX | 250 | 2200 | AIR
WP081 | Dichlorobenzene | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP082 | Dichloromethane ( Or Methylene chloride ) | Gas Chromatography | Workplace Air | NIOSH Method 1005 | EMEX | 250 | 2200 | AIR
WP083 | Diethyl Ether |  | Workplace Air |  | EMEX |  | 3500 | AIR
WP084 | Diethyl glycol (glycol) | Gas Chromatography | Workplace Air | NIOSH Method 5523 | EMEX | 250 | 2200 | AIR
WP085 | Diethylamine | Gas Chromatography | Workplace Air | NIOSH Method 2010 | EMEX | 250 | 2200 | AIR
WP086 | Dimethyl mercaptan |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP087 | Dimethylamine | Gas Chromatography | Workplace Air | NIOSH Method 2010 | EMEX | 250 | 2200 | AIR
WP088 | Diphenylmethane-4,41-Di-Isocyanate | Ion Specific Electrode | Workplace Air | OSHA 42 | EMEX | 250 | 2200 | AIR
WP089 | Dipropylene glycol methyl ether | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP090 | Dipropylene glycol monomethyl ether | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP091 | Disobutyl ketone | Gas Chromatography | Workplace Air | NIOSH Method 1300 | EMEX | 250 | 2200 | AIR
WP092 | Epichlorohdrin | Gas Chromatography | Workplace Air | NIOSH Method 1010 | EMEX | 250 | 2200 | AIR
WP093 | Ethanol |  | Workplace Air | NIOSH Method 1400 | EMEX |  | 2200 | AIR
WP094 | Ethyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1457 | EMEX | 250 | 2200 | AIR
WP095 | Ethyl aclcohol (Ethanol) | Gas Chromatography | Workplace Air | NIOSH Method 1400 | EMEX | 250 | 2200 | AIR
WP096 | Ethyl acrylate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP097 | Ethyl Benzene | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP098 | Ethyl butyl ketone | Gas Chromatography | Workplace Air | NIOSH Method 1301 | EMEX | 250 | 2200 | AIR
WP099 | Ethyl ether | Gas Chromatography | Workplace Air | NIOSH Method 1610 | EMEX | 250 | 2200 | AIR
WP100 | Ethyl mercaptan |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP101 | Ethyl methacrylate | Gas Chromatography | Workplace Air | NIOSH Method 2537 | EMEX | 250 | 2200 | AIR
WP102 | Ethylene dichloride |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP103 | Ethylene Glycol | Gas Chromatography | Workplace Air | NIOSH Method 5523 | EMEX | 250 | 2200 | AIR
WP104 | Fluoride | Ion Specific Electrode | Workplace Air | NIOSH Method 7902 | EMEX | 250 | 2200 | AIR
WP105 | Formaldehyde | Gas Chromatography | Workplace Air | NIOSH Method 2541 | EMEX | 250 | 2200 | AIR
WP106 | Formic acid | Ion Chromatography | Workplace Air | OSHA ID 186SG | EMEX | 250 | 2200 | AIR
WP107 | Gasoline | Gas Chromatography | Workplace Air | OSHA PV 2028 | EMEX | 250 | 2200 | AIR
WP108 | Glycol Ether | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP109 | HBr |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP110 | Heat contour |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP111 | Heat stress (2 hr.) | WetBulb Globe Temperature Method | Workplace Air |  | EMEX |  | 2200 | AIR
WP112 | Hexane |  | Workplace Air | NIOSH Method 1500 | EMEX |  | 2200 | AIR
WP113 | Hydrobromic acid | Ion Chromatography | Workplace Air | NIOSH Method 7903 | EMEX | 250 | 2200 | AIR
WP114 | Hydrochloric acid (HCL) |  | Workplace Air | NIOSH Method 7903 | สวนดุสิต | 300 | 2200 | AIR
WP115 | Hydrogen bromide | Ion Chromatography | Workplace Air | NIOSH Method 7903 | EMEX | 250 | 2200 | AIR
WP116 | Hydrogen chloride | Ion Chromatography | Workplace Air | NIOSH Method 7903 | EMEX | 250 | 2200 | AIR
WP117 | Hydrogen Cyanide | Ion Specific Electrode | Workplace Air | NIOSH Method 7904 | EMEX | 250 | 2200 | AIR
WP118 | Hydrogen fluoride | Ion Chromatography | Workplace Air | NIOSH Method 7903 | EMEX | 250 | 2200 | AIR
WP119 | Hydrogen sulfide | Ion Chromatography | Workplace Air | NIOSH Method 6013 | EMEX | 250 | 2200 | AIR
WP120 | Iodine | Ion Chromatography | Workplace Air | NIOSH Method 6005 | EMEX | 250 | 2200 | AIR
WP121 | Iron |  | Workplace Air | NIOSH Method 7300 | EMEX |  | 2200 | AIR
WP122 | Iron (PS) |  | Workplace Air | NIOSH Method 7300 | EMEX |  | 2200 | AIR
WP123 | Iron Dust as Total Dust |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP124 | Iron Fume ( Fe ) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP125 | Iron Oxide as Iron |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP126 | Iron oxide Fume | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 300 | 2200 | AIR
WP127 | Isbutyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP128 | Isoamyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP129 | Isoamyl alcohol | Gas Chromatography | Workplace Air | NIOSH Method 1402 | EMEX | 250 | 2200 | AIR
WP130 | Isobutyl alcohol | Gas Chromatography | Workplace Air | NIOSH Method 1401 | EMEX | 250 | 2200 | AIR
WP131 | Isophorone | Gas Chromatography | Workplace Air | NIOSH Method 2508 | EMEX | 250 | 2200 | AIR
WP132 | Isopropyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1454 | EMEX | 250 | 2200 | AIR
WP133 | Isopropyl alcohol (2-propanol) | Gas Chromatography | Workplace Air | NIOSH Method 1400 | EMEX | 250 | 2200 | AIR
WP134 | Isopropyl alcohol (IPA) |  | Workplace Air | NIOSH Method 1400 | EMEX |  | 2200 | AIR
WP135 | Isopropyl ether | Gas Chromatography | Workplace Air | NIOSH Method 1618 | EMEX | 250 | 2200 | AIR
WP136 | Kerozene | Gas Chromatography | Workplace Air | NIOSH Method 1550 | EMEX | 250 | 3500 | AIR
WP137 | Lead | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7082 | EMEX | 300 | 2200 | AIR
WP138 | Leq 1 hrs. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 1500 | AIR
WP139 | Leq 1 hrs. ( Octave Band ) | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 2000 | AIR
WP140 | Leq 12 hrs. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 2000 | AIR
WP141 | Leq 24 hrs. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 2200 | AIR
WP142 | Leq 4 hrs. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 1000 | AIR
WP143 | Leq 5 min + Octave band | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 700 | AIR
WP144 | Leq 5 mins. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 500 | AIR
WP145 | Leq 8 hrs + Octave Band | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 2000 | AIR
WP146 | Leq 8 hrs. | Sound Level Meter | Workplace Air | Sound Level Meter | EMEX |  | 1600 | AIR
WP147 | Light | Lux Meter | Workplace Air | Direct reading by Lux Meter | EMEX |  | 100 | AIR
WP148 | Light (ฟรี ไม่เกิน 30 จุด) | Lux Meter | Workplace Air | Direct reading by Lux Meter | EMEX | 0 | 0 | AIR
WP149 | Lithium Bromide as Bromine |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP150 | Magnesium | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 300 | 2200 | AIR
WP151 | Manganese | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 300 | 2200 | AIR
WP152 | Mercaptan |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP153 | Mercury | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 6009 | EMEX | 300 | 2200 | AIR
WP154 | Methane |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP155 | Methanol | Gas Chromatography | Workplace Air | NIOSH Method 2000 | EMEX | 250 | 2200 | AIR
WP156 | Methyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1458 | EMEX | 250 | 2200 | AIR
WP157 | Methyl acrylate | Gas Chromatography | Workplace Air | NIOSH Method 1459 | EMEX | 250 | 2200 | AIR
WP158 | Methyl bromide |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP159 | Methyl Chloride (Chloromethane) | Gas Chromatography | Workplace Air | NIOSH Method 1001 | EMEX | 250 | 2200 | AIR
WP160 | Methyl Ethyl Ketone (2-bothanone) | Gas Chromatography | Workplace Air | NIOSH Method 2500 | EMEX | 250 | 2200 | AIR
WP161 | Methyl isoamyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP162 | Methyl isobutyl Ketone | Gas Chromatography | Workplace Air | NIOSH Method 1300 | EMEX | 250 | 2200 | AIR
WP163 | Methyl mercaptan |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP164 | Methyl methacrylate | Gas Chromatography | Workplace Air | NIOSH Method 2537 | EMEX | 250 | 2200 | AIR
WP165 | Methylcyclohexane | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP166 | Methylcyclohexanol | Gas Chromatography | Workplace Air | NIOSH Method 1404 | EMEX | 250 | 2200 | AIR
WP167 | Methylcyclohexanone | Gas Chromatography | Workplace Air | NIOSH Method 2521 | EMEX | 250 | 2200 | AIR
WP168 | Methylene chloride | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP169 | M-Xylene |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP170 | Naphtha | Gas Chromatography | Workplace Air | NIOSH Method 1550 | EMEX | 250 | 2200 | AIR
WP171 | Naphthalene | Gas Chromatography | Workplace Air | NIOSH Method 5515 | EMEX | 250 | 2200 | AIR
WP172 | n-Butanol |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP173 | n-Butyl acetate |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP174 | n-butyl alcohol |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP175 | n-Heptane | Gas Chromatography | Workplace Air | OSHA 07 | EMEX | 250 | 2200 | AIR
WP176 | n-Hexane | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP177 | Nickle | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP178 | Nitric acid |  | Workplace Air | NIOSH Method 7903 | EMEX |  | 2200 | AIR
WP179 | Nitrogen dioxide |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP180 | Noise (Leq, Lmax, Ldn, L5, L10, L90, L95) |  | Workplace Air | Noise Dosimeter | EMEX |  | 1500 | AIR
WP181 | Noise contour |  | Workplace Air | Sound Level Meter | EMEX |  | ตามขนาดพื้นที่ | AIR
WP182 | Noise dose |  | Workplace Air | Noise Dosimeter | EMEX |  | 1500 | AIR
WP183 | Non-Methane Hydrocarbon |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP184 | n-Pentane | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP185 | n-Pentanone |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP186 | n-Propyl acetate | Gas Chromatography | Workplace Air | NIOSH Method 1450 | EMEX | 250 | 2200 | AIR
WP187 | n-Propyl alcohol (1-Propanal) | Gas Chromatography | Workplace Air | NIOSH Method 1401 | EMEX | 250 | 2200 | AIR
WP188 | Oil mist | Infrared Spectrophotometry | Workplace Air | OSHA ID 178 SG | EMEX | 250 | 2200 | AIR
WP189 | Oxalic acid | Ion Chromatography | Workplace Air | OSHA PV 2115 | EMEX | 250 | 2200 | AIR
WP190 | Oxygen |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP191 | O-Xylene |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP192 | Ozone |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP193 | Pentane |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP194 | Perchloroethylene |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP195 | Phenol |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP196 | Phosphoric acid |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP197 | PM10 |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP198 | Potassium ( K ) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP199 | Potassium cyanide | Ion Specific Electrode | Workplace Air | NIOSH Method 7904 | EMEX | 250 | 2200 | AIR
WP200 | Potassium hydroxide | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP201 | Potassium Permanganate as Manganese |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP202 | Propylene Glycol | Gas Chromatography | Workplace Air | NIOSH Method 5523 | EMEX | 250 | 2200 | AIR
WP203 | Propylene glycol monomethyl ether | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP204 | Propylene glycol monomethyl ether acetate | Gas Chromatography | Workplace Air | NIOSH Method 2554 | EMEX | 250 | 2200 | AIR
WP205 | P-Xylene |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP206 | Pyridine | Gas Chromatography | Workplace Air | NIOSH Method 1613 | EMEX | 250 | 2200 | AIR
WP207 | Respirable Dust | Gas Chromatography | Workplace Air | NIOSH Method 0600 | EMEX |  | 2000 | AIR
WP208 | Selenium | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 122 | EMEX | 300 | 2200 | AIR
WP209 | Silica | VAS | Workplace Air | NIOSH Method 7600 | EMEX | 300 | 2200 | AIR
WP210 | Silver | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 122 | EMEX | 300 | 2200 | AIR
WP211 | Sodium |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP212 | Sodium Carbnate as Sodium |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP213 | Sodium carbonate as Total Dust |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP214 | Sodium hydroxide | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP215 | Sodium Hyprochlorite as Chlorine |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP216 | Sodium metabisulfite | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP217 | Sodium nitrate | Atomic Absorption Spectrophotometer | Workplace Air | OSAHA ID CSI | EMEX | 250 | 2200 | AIR
WP218 | Sodium nitrite | Atomic Absorption Spectrophotometer | Workplace Air | OSAHA ID CSI | EMEX | 250 | 2200 | AIR
WP219 | Styrene | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP220 | Sulfer acid |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP221 | Sulfer dioxide | Ion Chromatography | Workplace Air | OSHA ID 200 | EMEX | 250 | 2200 | AIR
WP222 | Sulfuric acid | Ion Chromatography | Workplace Air | NIOSH Method 7903 | EMEX | 250 | 2200 | AIR
WP223 | Surfacetants |  | Workplace Air | APHA 2012 | ALS | 600 | 1000 | AIR
WP224 | Tetrahydrofuran | Gas Chromatography | Workplace Air | NIOSH Method 1609 | EMEX | 250 | 2200 | AIR
WP225 | Tin | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR
WP226 | Toluene | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP227 | Total Bacterai Count |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP228 | Total dust |  | Workplace Air | NIOSH Method 0500 | EMEX |  | 1600 | AIR
WP229 | Total hydrocarbon (THC) | Gas Chromatography | Workplace Air | NIOSH Method 1500 | EMEX | 250 | 2200 | AIR
WP230 | Total Suspended Particulate |  | Workplace Air |  | EMEX |  | 1800 | AIR
WP231 | Total VOC |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP232 | Trichloroethylene | Gas Chromatography | Workplace Air | NIOSH Method 1003 | EMEX | 250 | 2200 | AIR
WP233 | Trimethylamine | Gas Chromatography | Workplace Air | OSHA PV2060 | EMEX | 250 | 2200 | AIR
WP234 | Turpentine | Gas Chromatography | Workplace Air | NIOSH Method 1551 | EMEX | 250 | 2200 | AIR
WP235 | Vibration |  | Workplace Air |  | EMEX |  | 5500 | AIR
WP236 | Vinyl Acetate | Gas Chromatography | Workplace Air | OSHA 51 | EMEX | 250 | 2200 | AIR
WP237 | Vinyl bromide | Gas Chromatography | Workplace Air | NIOSH Method 1009 | EMEX | 250 | 2200 | AIR
WP238 | Vinyl Chloride | Gas Chromatography | Workplace Air | NIOSH Method 1007 | EMEX | 250 | 2200 | AIR
WP239 | Vinyl chloride monomer (VCM) |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP240 | VOCs (Screening) | Gas Chromatography | Workplace Air | NIOSH Method 2549 | EMEX | 400 | 2200 | AIR
WP241 | Xylene | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP242 | Xylene (PS) | Gas Chromatography | Workplace Air | NIOSH Method 1501 | EMEX | 250 | 2200 | AIR
WP243 | Yeast & Mold Count |  | Workplace Air |  | EMEX |  | 2200 | AIR
WP244 | Zinc | Atomic Absorption Spectrophotometer | Workplace Air | NIOSH Method 7030 | EMEX | 250 | 2200 | AIR
WP245 | Zinc Chloride as Zinc | Atomic Absorption Spectrophotometer | Workplace Air |  | EMEX |  | 2200 | AIR
WP246 | Zine oxide fume | Atomic Absorption Spectrophotometer | Workplace Air | OSHA ID 121 | EMEX | 250 | 2200 | AIR

## Water and Waterwaste
รหัส | Parameter | วิธีวิเคราะห์ | กลุ่ม | Method CNVi | sub | ราคา sub | ราคา cnvi
WW001 | **SVOC |  | Water and Wastewater |  | ALS | 6500 | 8500 | WATER
WW002 | **VOC |  | Water and Wastewater |  | ALS | 6000 | 8000 | WATER
WW003 | *Pesticide residue OC |  | Water and Wastewater | GC | ALS | 3500 | 5500 | WATER
WW004 | *Pesticide residue OP |  | Water and Wastewater | GC | ALS | 3500 | 5500 | WATER
WW005 | Acidity | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW006 | Alkalinity | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW007 | Alkalinity, Bicarbonate | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW008 | Alkalinity, Carbonate | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW009 | Alkalinity, Hydroxide | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW010 | Alkalinity, Methyl Orange | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW011 | Alkalinity, Phenolphthalein | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW012 | Alkalinity, Residual | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW013 | Alkalinity, Total | Tritation | Water and Wastewater | AWWA 2012 | SDU | 150 | 250 | WATER
WW014 | Alkylbenzene |  | Water and Wastewater | Standard Method |  |  |  | WATER
WW015 | Alkylbenzyl Sulfonate (ABS) |  | Water and Wastewater | APHA-2320 (B) |  |  | 870 | WATER
WW016 | Aluminium ( Al ) |  | Water and Wastewater | APHA-3111 (D) | ALS | 385 | 550 | WATER
WW017 | Ammonia- Nitrogen(NH3) |  | Water and Wastewater | Titrimetric Method | ALS |  |  | WATER
WW018 | Anion (Cl- , F- , NO3- , SO42-) |  | Water and Wastewater | Ion Chromatography | ALS |  |  | WATER
WW019 | Anion Surfactant (Detergent) |  | Water and Wastewater | APHA-5540 (C) | ALS |  | 870 | WATER
WW020 | Antimony (Sb) |  | Water and Wastewater | AAS | ALS |  |  | WATER
WW021 | Arsenic ( As ) |  | Water and Wastewater | APHA-3114 (B,C) | ALS |  | 550 | WATER
WW022 | Barium ( Ba ) |  | Water and Wastewater | APHA-3111 (D) | ALS | 385 | 550 | WATER
WW023 | Benzo (A) Pyrene |  | Water and Wastewater | US.EPA Method 550 | ALS |  | 6200 | WATER
WW024 | BOD |  | Water and Wastewater | APHA-5210 (B) | ALS | 280 | 400 | WATER
WW025 | Boron ( Bo ) |  | Water and Wastewater | APHA-4500-(B) | ALS |  | 650 | WATER
WW026 | C.perfringens |  | Water and Wastewater | APHA | ALS | 420 | 650 | WATER
WW027 | Cabamate Pesticides |  | Water and Wastewater | Gas chromatography | ALS |  | 4500 | WATER
WW028 | Cadmium ( Cd ) |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW029 | Calcium ( Ca ) |  | Water and Wastewater | APHA-3111 (C) | ALS |  | 550 | WATER
WW030 | carbon dioxide |  | Water and Wastewater | Titmetric Method | ALS |  | 270 | WATER
WW031 | Chloride |  | Water and Wastewater | APHA-4500-Cl-(B) | สวนดุสิต | 150 | 200 | WATER
WW032 | Chlorine, Free |  | Water and Wastewater | APHA-4500-Cl-(G) | สวนดุสิต | 150 | 200 | WATER
WW033 | Chlorine, Total |  | Water and Wastewater | APHA-4500-Cl-(G) | สวนดุสิต | 150 | 200 | WATER
WW034 | Chromium |  | Water and Wastewater | AAS | ALS | 315 | 550 | WATER
WW035 | Chromium Hexavalent |  | Water and Wastewater | APHA-3500-Cr-(B) | ALS | 315 | 550 | WATER
WW036 | Chromium Total |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW037 | Chromium Trivalent |  | Water and Wastewater | APHA-3500-Cr-(B) | ALS | 315 | 550 | WATER
WW038 | Clostridium perrigens |  | Water and Wastewater | Culture | ALS |  |  | WATER
WW039 | CO3 Hardness / CaCO3 |  | Water and Wastewater | EDTA Titrimetric Method | ALS |  |  | WATER
WW040 | COD |  | Water and Wastewater | APHA-5220 | ALS | 210 | 350 | WATER
WW041 | Coliform, E.Coli |  | Water and Wastewater | APHA-9221E | ALS | 280 | 450 | WATER
WW042 | Coliform, MPN |  | Water and Wastewater | APHA-9221E | ALS | 280 | 450 | WATER
WW043 | Coliform, Total |  | Water and Wastewater | APHA-9221B | ALS | 280 | 450 | WATER
WW044 | Color |  | Water and Wastewater | APHA-2120 | ALS | 70 | 130 | WATER
WW045 | Conductivity |  | Water and Wastewater | APHA-2510 (B) | สวนดุสิต | 100 | 300 | WATER
WW046 | Copper ( Cu ) |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW047 | Cr, Hexa. & Cr, Tri. |  | Water and Wastewater | APHA-3500Cr (B) | ALS |  | 1200 | WATER
WW048 | Cyanide |  | Water and Wastewater | APHA-4500CN (C,E) | ALS | 560 | 670 | WATER
WW049 | Dioxin |  | Water and Wastewater | APHA | ALS |  | 53000 | WATER
WW050 | Dissolved Oxygen (DO) |  | Water and Wastewater | APHA-4500-O (C) | ALS |  | 220 | WATER
WW051 | Dry residue at 180 C. |  | Water and Wastewater | APHA | ALS |  | 370 | WATER
WW052 | Enterococcus |  | Water and Wastewater | APHA | ALS |  | 720 | WATER
WW053 | Fecal Coliform Bacteria |  | Water and Wastewater | APHA-9221E | ALS | 350 | 450 | WATER
WW054 | Flow rate |  | Water and Wastewater | .- | ALS |  | 120 | WATER
WW055 | Fluoride |  | Water and Wastewater | APHA-4500 (C) | สวนดุสิต | 200 | 550 | WATER
WW056 | Formaldehyde |  | Water and Wastewater | Colorimetric Method | ALS | 420 | 650 | WATER
WW057 | Hardness Permanent |  | Water and Wastewater | APHA-2320 (B) | ALS |  | 200 | WATER
WW058 | Hardness Temporary |  | Water and Wastewater | APHA-2310 (B) | ALS |  | 200 | WATER
WW059 | Hardness, Calcium |  | Water and Wastewater | APHA-2340 (C) | ALS |  | 200 | WATER
WW060 | Hardness, Carbonate |  | Water and Wastewater | APHA-2340 (C) | ALS |  | 200 | WATER
WW061 | Hardness, Magnesium |  | Water and Wastewater | APHA-2340 (C) | ALS |  | 200 | WATER
WW062 | Hardness, Non-carbonate |  | Water and Wastewater | APHA-2340 (C) | ALS |  | 200 | WATER
WW063 | Hardness, Total |  | Water and Wastewater | APHA-2340 (C) | ALS | 140 | 200 | WATER
WW064 | Hydrogen Sulfide (H2S) |  | Water and Wastewater | Calculation | ALS |  |  | WATER
WW065 | Iron ( Fe ) |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW066 | Lead |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW067 | Legionella |  | Water and Wastewater | APHA-CFU/L | ALS |  | 3600 | WATER
WW068 | Linear Alkyl Sulfanate |  | Water and Wastewater |  | ALS |  |  | WATER
WW069 | Magnesium ( Mg ) |  | Water and Wastewater | APHA-3111 (-) | สวนดุสิต | 350 | 550 | WATER
WW070 | Manganese ( Mn ) |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW071 | Mercury ( Hg ) |  | Water and Wastewater | APHA-3112 (B) | ALS | 385 | 570 | WATER
WW072 | MLSS |  | Water and Wastewater | APHA-2540 (F) | สวนดุสิต | 100 | 270 | WATER
WW073 | MLVSS |  | Water and Wastewater | Ignited 550๐c | สวนดุสิต | 100 | 270 | WATER
WW074 | Molybdenum |  | Water and Wastewater | APHA | ALS |  | 670 | WATER
WW075 | Nickel |  | Water and Wastewater | APHA-3111 (-) | ALS | 315 | 550 | WATER
WW076 | Nitrate (NO3-) |  | Water and Wastewater | Spectrophotometer | ALS | 420 | 650 | WATER
WW077 | Nitrogen, (TKN)Total Kjeldahl ยกเลิก |  | Water and Wastewater | APHA-4500-NH3 (B) | ALS |  |  | WATER
WW078 | Nitrogen, Ammonia |  | Water and Wastewater | APHA-4500-NH3(B,C) | ALS |  | 520 | WATER
WW079 | Nitrogen, Nitrate |  | Water and Wastewater | APHA-4500-NO3 (B) | ALS |  | 370 | WATER
WW080 | Nitrogen, Organic |  | Water and Wastewater | APHA-4500-NH3 (B) | ALS |  | 450 | WATER
WW081 | Non-CO3 Hardness |  | Water and Wastewater | EDTA Titrimetric Method | ALS |  |  | WATER
WW082 | Odor |  | Water and Wastewater | Observation | ALS | 70 | 150 | WATER
WW083 | Oil & Grease & Fat |  | Water and Wastewater | AWWA, 2005/ Soxhlet Extraction method | ALS | 420 | 650 | WATER
WW084 | Organochlorine Pesticides |  | Water and Wastewater | Gas chromatography | ALS |  | 3800 | WATER
WW085 | Organophosphate Pesticides |  | Water and Wastewater | Gas chromatography | ALS |  | 4600 | WATER
WW086 | Pentachlorophenol |  | Water and Wastewater | US.EPA Method 8270 | ALS |  | 4200 | WATER
WW087 | Permanganate value |  | Water and Wastewater | Titmetric Method | ALS |  | 390 | WATER
WW088 | Pesticides |  | Water and Wastewater | Gas chromatography | ALS |  | 4700 | WATER
WW089 | pH |  | Water and Wastewater | APHA-4500-H+(B) | ALS | 70 | 150 | WATER
WW090 | Phenol |  | Water and Wastewater | APHA-5530 (C) | ALS | 420 | 650 | WATER
WW091 | Phenolic substances, as phenol |  | Water and Wastewater | Standard Method | ALS |  | 600 | WATER
WW092 | Phosphate |  | Water and Wastewater | APHA-4110 (B) | สวนดุสิต | 200 | 370 | WATER
WW093 | Phosphate-Phosphorus |  | Water and Wastewater |  | ALS |  |  | WATER
WW094 | Plankton : Phytoplankton |  | Water and Wastewater | Plankton Net / Microscopic Technique | ALS |  | 5200 | WATER
WW095 | Plankton : Primary productivity |  | Water and Wastewater | Identify Method | ALS |  | 5200 | WATER
WW096 | Plankton : Zooplankton |  | Water and Wastewater | Plankton Net / Microscopic Technique | ALS |  | 5200 | WATER
WW097 | Plankton Counting |  | Water and Wastewater | Plankton Counting Techniques+Grap Sampling | ALS |  | 6700 | WATER
WW098 | Potassium |  | Water and Wastewater | APHA-3111 (-) | สวนดุสิต | 350 | 550 | WATER
WW099 | Pseudomonas aeruginosa |  | Water and Wastewater |  | ALS |  |  | WATER
WW100 | Pyrethroids (9รายการ) |  | Water and Wastewater | US.EPA Method 8270 & APHA6630 (B) | ALS |  | 3200 | WATER
WW101 | Radioactive |  | Water and Wastewater |  | ALS | 10000 | 13000 | WATER
WW102 | Residual Chlorine |  | Water and Wastewater | Iodometric Method 1 | สวนดุสิต | 150 | 200 | WATER
WW103 | Residual Sodium Carbonate |  | Water and Wastewater | Calculation | ALS |  | 770 | WATER
WW104 | S. aureus |  | Water and Wastewater | APHA | ALS | 350 | 650 | WATER
WW105 | Salinity |  | Water and Wastewater | APHA | ALS | 140 | 550 | WATER
WW106 | Salmonella spp. |  | Water and Wastewater | APHA | ALS | 350 | 650 | WATER
WW107 | SAR |  | Water and Wastewater | Calculation | ALS |  | 1800 | WATER
WW108 | Selenium ( Se ) |  | Water and Wastewater | APHA-3114 (B,C) | ALS | 385 | 700 | WATER
WW109 | Silica (Molybdate-Reactive) |  | Water and Wastewater | APHA-4500-SiO2 (D) | ALS |  | 320 | WATER
WW110 | Silver ( Ag ) |  | Water and Wastewater | APHA-3111 (-) | ALS | 385 | 550 | WATER
WW111 | Sodium |  | Water and Wastewater | APHA-3111 (-) | สวนดุสิต | 350 | 550 | WATER
WW112 | Solids, Settleable (SV30) |  | Water and Wastewater | APHA-2540 (F) | ALS |  | 150 | WATER
WW113 | Solids, Total (TS) |  | Water and Wastewater | APHA-2540 (B) | ALS | 140 | 200 | WATER
WW114 | Soluble Phosphorus |  | Water and Wastewater | APHA | ALS |  | 370 | WATER
WW115 | Standard plate count |  | Water and Wastewater | APHA | ALS | 280 | 450 | WATER
WW116 | Staphylococcus aureus |  | Water and Wastewater | Culture | สวนดุสิต | 1500 | 2000 | WATER
WW117 | Sulfate (SO42-) |  | Water and Wastewater | Turbidimetric Method | ALS | 350 | 450 | WATER
WW118 | Sulfide |  | Water and Wastewater | APHA-4500-S2 (E) | ALS |  | 340 | WATER
WW119 | Sulfite |  | Water and Wastewater | APHA | ALS |  | 290 | WATER
WW120 | Surfacetants | [5 empty] | 780 | WATER
WW121 | Suspended Solids (SS)* / Total Suspended Solids (TSS)* |  | Water and Wastewater | APHA-2540 (F) | สวนดุสิต | 100 | 220 | WATER
WW122 | Temperature |  | Water and Wastewater | APHA-2550 (B) | CNVI |  | 100 | WATER
WW123 | Thallium ( Tl ) |  | Water and Wastewater | APHA | สวนดุสิต | 350 | 550 | WATER
WW124 | Tin ( Sn ) |  | Water and Wastewater | APHA-3111 (B) | ALS |  | 570 | WATER
WW125 | TOC |  | Water and Wastewater | APHA | ALS |  | 4900 | WATER
WW126 | Total Dissolved solids (TDS) |  | Water and Wastewater | dried at 103-105๐c | ALS | 100 | 170 | WATER
WW127 | Total Kjedahl Nitrogen (TKN) |  | Water and Wastewater | APHA-4500-P(C) | สวนดุสิต | 250 | 400 | WATER
WW128 | Total Phosphorus |  | Water and Wastewater |  | ALS | 420 | 650 | WATER
WW129 | Transparency |  | Water and Wastewater | Secchi-disc | ALS |  |  | WATER
WW130 | Turbidity |  | Water and Wastewater | APHA-2310 (B) | ALS | 140 | 300 | WATER
WW131 | VA (Volatile acids) |  | Water and Wastewater | APHA-5560 (C) | ALS |  | 210 | WATER
WW132 | Vanadium ( V ) |  | Water and Wastewater | APHA | ALS |  | 670 | WATER
WW133 | Vinyl Chloride |  | Water and Wastewater | US.EPA Method 5030 © | ALS |  | 5700 | WATER
WW134 | VS (Solids Volatile) |  | Water and Wastewater | APHA | ALS |  | 210 | WATER
WW135 | VSA |  | Water and Wastewater | APHA | ALS |  | 220 | WATER
WW136 | VSS |  | Water and Wastewater | APHA | ALS |  | 220 | WATER
WW137 | Zinc ( Zn ) |  | Water and Wastewater | AWWA, 2005/ Flame-Atomic Absorption | ALS | 315 | 550 | WATER

## Sludge and Solid Waste
รหัส | Parameter | วิธีวิเคราะห์ | กลุ่ม | Method CNVi | sub | ราคา sub | ราคา cnvi
SS001 | Aluminium (Al) | AAS | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS002 | Antimony (Sb) | AAS | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS003 | Arsenic ( As ) | AAS | Sludge and Solid Waste |  | ALS | 455 |  | SOLID
SS004 | Barium (Ba) | AAS | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS005 | Beryllium (Be) | AAS | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS006 | Cadmium ( Cd ) | X-Ray Fluorescence Spectrometer | Sludge and Solid Waste | SW 846 (AAS) | ALS | 385 | 920 | SOLID
SS007 | Chromium ( Cr ) | AAS | Sludge and Solid Waste | Gas chromatography | ALS | 385 |  | SOLID
SS008 | Chromium Hexavalent | AAS | Sludge and Solid Waste | TCLP Method | ALS | 385 | 1300 | SOLID
SS009 | Chromium Trivalent | AAS | Sludge and Solid Waste | Extraction procedure | ALS | 385 |  | SOLID
SS010 | Cobalt (Co) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS | 385 | 820 | SOLID
SS011 | Copper ( Cu ) | AAS | Sludge and Solid Waste | Base on AOAC (2005) | ALS |  |  | SOLID
SS012 | Cr +3 and Cr +6 | AAS | Sludge and Solid Waste | Base on AOAC (2005) | ALS |  |  | SOLID
SS013 | Dioxin |  | Sludge and Solid Waste | TCLP Method / Wet Method | ALS |  |  | SOLID
SS014 | Elements | X-Ray Fluorescence Spectrometer | Sludge and Solid Waste |  | ALS |  | 4100 | SOLID
SS015 | Fineness |  | Sludge and Solid Waste |  | ALS |  | 2100 | SOLID
SS016 | Formaldehyde |  | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 600 | SOLID
SS017 | Lead ( Pb ) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 920 | SOLID
SS018 | Manganese ( Mn ) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 920 | SOLID
SS019 | Mercury ( Hg ) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 920 | SOLID
SS020 | Molybdenum (Mo) | AAS | Sludge and Solid Waste | US.EPA Method 9013 | ALS |  |  | SOLID
SS021 | Nickel ( Ni ) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 920 | SOLID
SS022 | Oxides | X-Ray Fluorescence Spectrometer | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 4100 | SOLID
SS023 | PCBs | AAS | Sludge and Solid Waste | Gas chromatography | ALS |  | 10300 | SOLID
SS024 | Pentachlorophenol | AAS | Sludge and Solid Waste | Gas chromatography | ALS |  | 4550 | SOLID
SS025 | pH | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 160 | SOLID
SS026 | Phenols | AAS | Sludge and Solid Waste | Gas chromatography | ALS |  | 600 | SOLID
SS027 | Plant - Copper | AAS | Sludge and Solid Waste | Base on US.EPA Method | ALS |  | 750 | SOLID
SS028 | Plant - Managanese | AAS | Sludge and Solid Waste | Base on US.EPA Method | ALS |  | 750 | SOLID
SS029 | Plant - Zinc | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 750 | SOLID
SS030 | Sample Preparation | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 1200 | SOLID
SS031 | Selenium ( Se ) | AAS | Sludge and Solid Waste | SW 846 (AAS) | ALS |  | 920 | SOLID
SS032 | Silver (Ag) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS033 | STLC - Aluminium (Al) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS034 | STLC - Antimony (Sb) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS035 | STLC - Arsenic (As) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS036 | STLC - Barium (Ba) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS037 | STLC - Beryllium (Be) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS038 | STLC - Cadmium (Cd) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS039 | STLC - Chromium (Cr) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS040 | STLC - Chromium Hexavalent (Cr+6) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS041 | STLC - Chromium Trivalant (Cr+3) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS042 | STLC - Cobalt (Co) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS043 | STLC - Copper (Cu) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS044 | STLC - Cyanide | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 1200 | SOLID
SS045 | STLC - Fluoride salts | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 1600 | SOLID
SS046 | STLC - Iron (Fe) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS047 | STLC - Lead (Pb) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 920 | SOLID
SS048 | STLC - Lithium | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS049 | STLC - Magnesium (Mg) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS050 | STLC - Manganese (Mn) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS051 | STLC - Mercury (Hg) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 650 | SOLID
SS052 | STLC - Molybdenum (Mo) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS053 | STLC - Nickel (Ni) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS054 | STLC - Selenium (Se) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 600 | SOLID
SS055 | STLC - Silver (Ag) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS056 | STLC - Sulfate | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS057 | STLC - Thallium (Tl) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS058 | STLC - Tin (Sn) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 600 | SOLID
SS059 | STLC - Titanium ( Ti ) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 820 | SOLID
SS060 | STLC - Total Cr , Cr+3 , Cr+6 | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 1200 | SOLID
SS061 | STLC - Vanadium (V) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 970 | SOLID
SS062 | STLC - Zinc (Zn) | AAS | Sludge and Solid Waste | Wet Method | ALS |  | 550 | SOLID
SS063 | TCLP - Aluminium (Al) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS064 | TCLP - Antimony (Sb) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS065 | TCLP - Arsenic (As) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 620 | SOLID
SS066 | TCLP - Barium (Ba) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS067 | TCLP - Cadmium (Cd) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS068 | TCLP - Calcium (Ca) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS069 | TCLP - Chromium (Cr) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS070 | TCLP - Chromium Hexavalent | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS071 | TCLP - Chromium Trivalent | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS072 | TCLP - Cobalt (Co) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS073 | TCLP - Copper (Cu) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS074 | TCLP - Iron (Fe) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS075 | TCLP - Lead (Pb) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS076 | TCLP - Magnesium (Mg) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS077 | TCLP - Manganese (Mn) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS078 | TCLP - Mercury | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 620 | SOLID
SS079 | TCLP - Nickel (Ni) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS080 | TCLP - Potassium (K) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS081 | TCLP - Selenium (Se) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 620 | SOLID
SS082 | TCLP - Silver (Ag) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS083 | TCLP - Sodium (Na) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS084 | TCLP - Thallium | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 970 | SOLID
SS085 | TCLP - Tin (Sn) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS086 | TCLP - Vanadium | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 970 | SOLID
SS087 | TCLP - Zinc (Zn) | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 550 | SOLID
SS088 | TCLP - Sulphate | AAS | Sludge and Solid Waste | TCLP Method | ALS |  | 570 | SOLID
SS089 | TTLC - Arsenic (As) | AAS | Sludge and Solid Waste | SW846 | ALS |  | 620 | SOLID
SS090 | TTLC - Aluminium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS091 | TTLC - Antimony | AAS | Sludge and Solid Waste | SW846 | ALS |  | 820 | SOLID
SS092 | TTLC - Beryllium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 970 | SOLID
SS093 | TTLC - Cadmium (Cd) | AAS | Sludge and Solid Waste | SW846 | ALS |  | 570 | SOLID
SS094 | TTLC - Cobalt | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS095 | TTLC - Copper | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS096 | TTLC - Chromium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS097 | TTLC - Chromium Hexavalent | AAS | Sludge and Solid Waste | SW846 | ALS |  |  | SOLID
SS098 | TTLC - Cr+3 and Cr+6 | AAS | Sludge and Solid Waste | SW846 | ALS |  | 1300 | SOLID
SS099 | TTLC - Cyanide | AAS | Sludge and Solid Waste | SW846 | ALS |  | 920 | SOLID
SS100 | TTLC - Fluoride salts | AAS | Sludge and Solid Waste | SW846 | ALS |  | 920 | SOLID
SS101 | TTLC - Lead | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS102 | TTLC - Manganese | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS103 | TTLC - Mercury | AAS | Sludge and Solid Waste | SW846 | ALS |  | 570 | SOLID
SS104 | TTLC - Molybdenum | AAS | Sludge and Solid Waste | SW846 | ALS |  | 970 | SOLID
SS105 | TTLC - Nickel | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS106 | TTLC - pH | AAS | Sludge and Solid Waste | SW846 | ALS |  | 160 | SOLID
SS107 | TTLC - Selenium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 620 | SOLID
SS108 | TTLC - Sample Preparation | AAS | Sludge and Solid Waste | SW846 | ALS |  | 1200 | SOLID
SS109 | TTLC - Silver | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS110 | TTLC - Tin | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS111 | TTLC - Titanium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 820 | SOLID
SS112 | TTLC - Thallium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 970 | SOLID
SS113 | TTLC - Vanaduim | AAS | Sludge and Solid Waste | SW846 | ALS |  | 970 | SOLID
SS114 | TTLC -Zinc | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS115 | TTLC -Barium | AAS | Sludge and Solid Waste | SW846 | ALS |  | 550 | SOLID
SS116 | Thallium ( Tl ) | AAS | Sludge and Solid Waste |  | ALS |  | 970 | SOLID
SS117 | Tin ( Sn ) | AAS | Sludge and Solid Waste |  | ALS |  | 550 | SOLID
SS118 | Titanium ( Ti ) | AAS | Sludge and Solid Waste |  | ALS |  | 820 | SOLID
SS119 | Vanadium (V) | AAS | Sludge and Solid Waste |  | ALS |  | 970 | SOLID
SS120 | Zinc ( Zn ) | AAS | Sludge and Solid Waste |  | ALS |  | 550 | SOLID
SS121 | *Beryllium (Be) | AAS | Sludge and Solid Waste |  | ALS |  | 970 | SOLID
SS122 | *Silvex |  | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS123 | *SVOC |  | Sludge and Solid Waste |  | ALS |  |  | SOLID
SS124 | *Thallium ( Tl ) | AAS | Sludge and Solid Waste | APHA | ALS |  |  | SOLID
SS125 | *Toxaphene |  | Sludge and Solid Waste | X-Ray Fluorescence Spectrometer | ALS |  |  | SOLID
SS126 | *Vanadium (V) | AAS | Sludge and Solid Waste | Blaine | ALS |  |  | SOLID
SS127 | *VOCs in Soils (16 รายการ) |  | Sludge and Solid Waste | GC/MS Method | ALS |  | 10300 | SOLID

## soil (hidden)
รหัส | Parameter | Method CNVi | sub | ราคา sub | ราคา cnvi
SO001 | Aluminium (Al) | AAS | ALS
SO002 | Antimony (Sb) | AAS | ALS
SO003 | Arsenic ( As ) | AAS | ALS
SO004 | Atrazine | MHLW(GC/MS) | ALS
SO005 | Barium (Ba) | AAS | ALS
SO006 | Beryllium (Be) | AAS | ALS
SO007 | Cadmium ( Cd ) | AAS | ALS
SO008 | Calcium (Ca) | AAS | ALS
SO009 | Carbon Content |  | ALS
SO010 | Chromium ( Cr ) | AAS | ALS
SO011 | Chromium Hexavalent | AAS | ALS
SO012 | Cobalt (Co) | AAS | ALS
SO013 | Copper ( Cu ) | AAS | ALS
SO014 | Cr +3 and Cr +6 | AAS | ALS
SO015 | cyanide | Distillation | ALS
SO016 | Dioxin |  | ALS
SO017 | Elements |  | ALS
SO018 | Fineness |  | ALS
SO019 | Formaldehyde |  | ALS
SO020 | Iron (Fe) | AAS | ALS
SO021 | Lead ( Pb ) | AAS | ALS
SO022 | Magnesium (Mg) | AAS | ALS
SO023 | Manganese ( Mn ) |  | ALS
SO024 | Manganese (Mn) | AAS | ALS
SO025 | Mercury ( Hg ) | AAS | ALS
SO026 | Molybdenum (Mo) |  | ALS
SO027 | Nickel ( Ni ) | AAS | ALS
SO028 | Oxides |  | ALS
SO029 | Pentachlorophenol |  | ALS
SO030 | pH | Electrimetric Method | ALS
SO031 | Phenols |  | ALS
SO032 | Phosphorus | AAS | ALS
SO033 | Potassium (K) | AAS | ALS
SO034 | Sample Preparation |  | ALS
SO035 | Selenium ( Se ) | AAS | ALS
SO036 | Silver (Ag) | AAS | ALS
SO037 | Soils - Benzo (a) pyrene |  | ALS
SO038 | Soils - Cyanide |  | ALS
SO039 | STLC - Aluminium (Al) | AAS | ALS
SO040 | STLC - Antimony (Sb) | AAS | ALS
SO041 | STLC - Arsenic (As) | AAS | ALS
SO042 | STLC - Barium (Ba) | AAS | ALS
SO043 | STLC - Beryllium (Be) | AAS | ALS
SO044 | STLC - Cadmium (Cd) | AAS | ALS
SO045 | STLC - Chromium (Cr) | AAS | ALS
SO046 | STLC - Chromium Hexavalent (Cr+6) | AAS | ALS
SO047 | STLC - Chromium Trivalant (Cr+3) | AAS | ALS
SO048 | STLC - Cobalt (Co) | AAS | ALS
SO049 | STLC - Copper (Cu) | AAS | ALS
SO050 | STLC - Iron (Fe) | AAS | ALS
SO051 | STLC - Lead (Pb) | AAS | ALS
SO052 | STLC - Magnesium (Mg) | AAS | ALS
SO053 | STLC - Manganese (Mn) | AAS | ALS
SO054 | STLC - Mercury (Hg) | AAS | ALS
SO055 | STLC - Molybdenum (Mo) | AAS | ALS
SO056 | STLC - Nickel (Ni) | AAS | ALS
SO057 | STLC - Selenium (Se) | AAS | ALS
SO058 | STLC - Silver (Ag) | AAS | ALS
SO059 | STLC - Thallium (Tl) | AAS | ALS
SO060 | STLC - Tin (Sn) | AAS | ALS
SO061 | STLC - Titanium ( Ti ) | AAS | ALS
SO062 | STLC - Total Cr , Cr+3 , Cr+6 | AAS | ALS
SO063 | STLC - Vanadium (V) | AAS | ALS
SO064 | STLC - Zinc (Zn) | AAS | ALS
SO065 | TCL+B5:B43P - Aluminium (Al) | AAS | ALS
SO066 | TCLP - Antimony (Sb) | AAS | ALS
SO067 | TCLP - Arsenic (As) | AAS | ALS
SO068 | TCLP - Barium (Ba) | AAS | ALS
SO069 | TCLP - Cadmium (Cd) | AAS | ALS
SO070 | TCLP - Calcium (Ca) | AAS | ALS
SO071 | TCLP - Chromium (Cr) | AAS | ALS
SO072 | TCLP - Chromium Hexavalent | AAS | ALS
SO073 | TCLP - Chromium Trivalent | AAS | ALS
SO074 | TCLP - Cobalt (Co) | AAS | ALS
SO075 | TCLP - Copper (Cu) | AAS | ALS
SO076 | TCLP - Iron (Fe) | AAS | ALS
SO077 | TCLP - Magnesium (Mg) | AAS | ALS
SO078 | TCLP - Manganese (Mn) | AAS | ALS
SO079 | TCLP - Mercury | AAS | ALS
SO080 | TCLP - Nickel (Ni) | AAS | ALS
SO081 | TCLP - Potassium (K) | AAS | ALS
SO082 | TCLP - Selenium (Se) | AAS | ALS
SO083 | TCLP - Silver (Ag) | AAS | ALS
SO084 | TCLP - Sodium (Na) | AAS | ALS
SO085 | TCLP - Thallium | AAS | ALS
SO086 | TCLP - Tin (Sn) | AAS | ALS
SO087 | TCLP - Vanadium | AAS | ALS
SO088 | TCLP - Zinc (Zn) | AAS | ALS
SO089 | TCLP-sulphate | AAS | ALS
SO090 | Thallium ( Tl ) | AAS | ALS
SO091 | Thallium (Tl) | AAS | ALS
SO092 | Tin ( Sn ) | AAS | ALS
SO093 | Titanium ( Ti ) | AAS | ALS
SO094 | Total nitrogen | Kjeldahl method | ALS
SO095 | Total phoshate | AAS | ALS
SO096 | Vanadium (V) | AAS | ALS
SO097 | Zinc ( Zn ) | AAS | ALS
SO098 | **PCBs | USEPA 8270C | ALS
SO099 | **SVOC (Pesticide) ( 8รายการ ) | USEPA 8270C | ALS
SO100 | **VOCs in Soils - ( 16 รายการ ) | USEPA 8260A | ALS
SO101 | 2,4-D | MHLW(GC/MS) | ALS